## Slide 1: Smart Shoe for Wireless Ground Reaction Force Monitoring using Pressure Sensors and Machine Learning
Indian Institute of Technology Gandhinagar
Dhruv Shambhu Thakkar
(Research Intern, HCR Lab, IIT Gandhinagar)

## Slide 2: Objective
The objective of this study is to demonstrate the development and application of a wireless and portable system to predict real-time Ground Reaction Forces through machine learning techniques while providing an inexpensive alternative for existing technologies, and exploring its potential in rehabilitative and assistive research.
Indian Institute of Technology Gandhinagar

## Slide 3: Progress and results till AIR Conference paper submission
Indian Institute of Technology Gandhinagar
Proposed a single-shoe sensor system and designed/manufactured the hardware.
Collected squatting data from five participants.
Developed and compared four Regression models, one Deep Learning model, and one XGBoost model for GRF prediction.
Deployed a Linear Regression model on the Teensy microcontroller for real-time GRF estimation during squatting.

## Slide 4: Experimental Flow
Indian Institute of Technology Gandhinagar

## Slide 5: Results showcased in AIR Paper
Squatting GRF Visualization
Regression Outputs for Squatting data

## Slide 6: Results showcased in AIR Paper
Deep Learning Output
Real Time Linear Regression Output

## Slide 7: Two Shoe Design
Trigger signal from force plates
Both shoes has to be synced with the vicon software to collect data
Both pressure pads should have same dimensions so that both give range of data.
We have to find a constant factor by which both shoes data differ so that we can use same ML models on both shoes.

## Slide 8: Some Observations
[1] Bonnefoy-Mazure, A. & Armand, Stéphane. (2015). Normal gait.
Squatting model used on sit-to-stand activity
Standing Data

## Slide 9: Deep Learning Model Deployment
[1] Bonnefoy-Mazure, A. & Armand, Stéphane. (2015). Normal gait.
Train Model – Use TensorFlow, PyTorch, or other frameworks.
Convert Model – Optimize using TensorFlow Lite (TFLite), ONNX, or custom quantization techniques.
Deploy on MCU – Flash optimized model using frameworks like MicroFlow, TensorFlow Lite
Quantized model

## Slide 10
Indian Institute of Technology Gandhinagar
New Protocol
1 min Sitting
1 min Standing
1 min sit-to-stand
1 min Squatting

## Slide 11: Literature Review
2. A Wireless Human Motion Monitoring System for Smart Rehabilitation:
The paper introduces a new analysis method that utilizes fuzzy logic to continuously and smoothly detect gait phases, enabling a comprehensive utilization of GCF sensor information.
Additionally, the paper presents a higher-level algorithm that quantitatively monitors abnormalities in human gait, including improper GCF patterns and incorrect gait phase sequences.
The proposed methods are implemented using sensor-embedded shoes, referred to as smart shoes, which feature four GCF sensors installed between the cushion pad and the sole.
Overall, the research paper introduces an approach to gait monitoring using air pressure sensors and provides insights into the detection of gait phases and abnormalities, offering potential applications in advanced rehabilitation systems.
[3] Kong, Kyoungchul, and Masayoshi Tomizuka. "A gait monitoring system based on air pressure sensors embedded in a shoe." IEEE/ASME Transactions on mechatronics 14.3 (2009): 358-370.
[3]

## Slide 12: Literature Review
3. This work develops a shoe sole sensor system with high-capacity, compact triaxial force sensors to estimate three-directional ground reaction forces (GRFs) during walking and turning movements. By utilizing Cr–N strain-sensitive thin films mounted at key points on the shoe sole, the system captures detailed GRF data, which is then processed using machine learning models, including multiple linear regression (MLR) and Gaussian process regression (GPR). The results demonstrate that the GPR model effectively predicts GRFs in the y and z directions with a prediction error of less than 15%, showing strong agreement with force plate measurements
[5] Prediction of Three-Directional Ground Reaction Forces during Walking Using a Shoe Sole Sensor System and Machine Learning
[3]

## Slide 13: Literature Review
3. This paper presents a method for estimating three-axis ground reaction forces (GRFs) during walking using shoes equipped with three uniaxial EzForce-1D optical load cells and a sequence-to-sequence Long Short-Term Memory(seq2seq LSTM) model. The load cells, placed on the 1st metatarsal, 5th metatarsal, and mid-heel regions, were designed to minimize distortion and adapt to different foot sizes. The collected data was used to predict vertical, anterior-posterior (AP), and medial-lateral (ML) GRFs. The experiment involved 81 healthy adults walking at their preferred speed, with GRF measured using force plates as a reference. The LSTM model was trained with resampled and filtered data from 109 sets and validated with separate test sets.
[6] A Deep Learning Model for 3D Ground Reaction Force Estimation Using Shoes with Three Uniaxial Load Cells
[3]

## Slide 14: Project Phases
Experiment to obtain Raw Data & Ground Truth
Feature Engg.
/Calibration
Model Real Time
Training Deployment
Sensor Fusion & Data Synching
Indian Institute of Technology Gandhinagar

## Slide 15: Sensors & Materials
[4] Shoe Insole with Silicone tube coiled pressure pads placed at: [i] Toe [ii] Metatarsophalengeal 1-2 [iii] Metatarsophalengeal 3-4 [iv] Heel
SparkFun Qwiic MicroPressure Sensor
Portenta h7
Sparkfun ICM-20948 9-dof IMU
[4]
[i]
[ii]
[iii]
[iv]
Adafruit PCA9546
4-Channel Multiplexer
3.3V Micro SD module

## Slide 16: Experimental Design
Smart Shoe designed with 3D printed housing sensors to predict real time GRF

## Slide 17: Experimental Design
Smart Shoe designed with 3D printed housing sensors to predict real time GRF

## Slide 18: Data Collection
Before
Now
Indian Institute of Technology Gandhinagar

## Slide 19: Data Collection
Indian Institute of Technology Gandhinagar

## Slide 20
Data Synching & Calibration
Force Profiles
Force Plates
Smart Shoe
Similar Force Profiles obtained from Developed Smart Shoe and Force Plates

## Slide 21: Data Collection
3 Different
Experiments
4 Subject Data Collected
3 bouts / speed
trial
Indian Institute of Technology Gandhinagar
Squatting Experiment

## Slide 22: Data Visualization & Processing
Experiment Data Extraction from MATLAB
Importing Libraries, Loading Feature DataFrame
Normalizing Data and Creating Interaction Features
Indian Institute of Technology Gandhinagar

## Slide 23
Visualizing Data, Outliers,
Distribution, Correlation Matrix
Splitting Data for Training and Testing
Model Training
Indian Institute of Technology Gandhinagar
Pressures sensor values during gait cycle

## Slide 24: Model Training
Regression Techniques
Models Used:
  Linear Regression (Baseline) (30%)
  Decision Tree Regression (32%)
  Random Forest Regression(38%)
  Support Vector Regressor (SVR)(62%)
Indian Institute of Technology Gandhinagar
Regression MSE’s

## Slide 25: Model Training
Why Deep Learning?
Multiple Layers/hidden layers that distills some of the important patterns from the inputs and passes it onto the next layer
The activation function serves to capture non-linear relationship between the inputs, therefore it has the ability to learn and model non-linear and complex relationships
We started with a simple 2 layered network for baseline model, which itself gave 70 % accuracy and outperformed regression techniques.
Later by increasing the number of neurons and layers, also by adding Batch normalization , we have achieved accuracy of 93 %.
Indian Institute of Technology Gandhinagar

## Slide 26
Indian Institute of Technology Gandhinagar
Deep Learning Output
Fresh subject squatting data

## Slide 27: Model Deployment
Quantized
Weights & Biases
Inference for Onboard Computation
MicroFlow
Indian Institute of Technology Gandhinagar